## Slide 1: Propose Ethernet Wiring (Decada Robotics@TRL)

## Slide 2
LvlB1 PoE Point
Lvl2 PoE Point
Lvl4 PoE Point
Lvl4 PoE Point
Lvl6 PoE Point
Spare Network Switch
Lvl6 Door
Lvl5 Door
Lvl3 Door
Lvl2 Door
BMS Network Switch
Decada Edge
Computer
Internet Network Switch
Decada
TRL Server Room
Level 4
Level 6
Level 3
Level 2
Level B1
Lift
PLC
Level 5
Lvl3 PoE Point
Lvl4 Door
Xnergy W.C
Xnergy W.C

## Slide 3: Wiring requirements
Lvl B1 – x1 Eth Port (no auto doors, 1 for spare)
Lvl 2-5 – x2 Eth Port each (1 for door, 1 for spare)
Lvl 6 – x4 Eth Port (1 for door, 1 for spare)
(Lift PLC to have x2 lan cables for redundancy)
Wireless charger to deploy at level 4 and 6

## Slide 4: Level 6
Proposed Switch Mounting Box

## Slide 5: Level 4
Proposed Switch Mounting Box

## Slide 6: Trunking switch to Server room

## Slide 7: Server room